2-5-26 Safety Committee Minutes

Review of Previous Minutes

- Discussed near misses

  - Electrical short

  - Sample storage in public area

  - Nanoparticle containment release

  - Minor burn

- OSHA inspection results were returned

- Beth Andrews from EHS gave talk on Hazard Assessments

New Business

- No near misses reported prior to meeting

  - Unsecured cylinders outside

  - New cages will be installed in the spring

- Concerns brought up about old food in refrigerators

  - Food should be labeled with name and date, and thrown out after a week

  - Perhaps safety committee implements rotation of people in charge of clearing refrigerators periodically

- Discussed lab humidity and conditions

  - In the winter, humidity can get low

    - No one present brought concerns about humidity affecting their research

    - Ask other research groups if they have concerns

  - Group in high bay expressed concerns about cold temperatures

- Autoclave SOPs were developed and are now on file

  - When people are done using autoclaves, they have not been putting them in standby mode

    - When not in standby, the jacket is constantly charged, which causes leaks and can lead to water damage

    - Standby mode can be activated by hitting button in top left corner of the control display

  - SOPs are available online and should be posted in the autoclave rooms

- 2026 ISP audits will be starting soon

  - Most recent version was updated in December 2025, make sure to use the correct form

  - Deadline for submission will be beginning of April

  - If a group is using HazCom (not CHP), a designated trained individual is required

    - FLEX admin will send email to ensure this requirement is met

- A lab group will be moving off-campus soon, and has chemicals available that would be expensive to relocate

  - If another lab in the building needs chemicals, it is possible that they may be available

Other Business

- Near-miss reporting can be done at the following link: https://www.purdue.edu/ehps/rem/froi/near-miss.html

- Reminder to flush eyewash stations weekly, and wear all required PPE

- 10 in attendance