MEASUREMENT LABORATORY I

Purpose:  to be familiar with measuring measurements and also to study the random nature of product qualities, particularly in dimensions.

Equipment and materials:

1.	vernier calipers

2.	gage blocks

3.	sine bar

4.	micrometer

5.	workpieces

6.	crankshaft

Procedure:

1.	Perform the measurements five times and take the average.

2.	Repeat the measurements for the different parts.

3.	Plot a histogram of frequency versus measured value.

4.	Compute the mean and variance.

The items to be included in the report:

1.	Measured data

2.	Plots of histogram if necessary

- Mean and variance

- Interference/Allowance information from the shafts and holes

- Comments

[BME#1]: MEASUREMENT EXPERIMENTS

EXAMPLE “A”: 	Measurements of  A Hole and Shaft

|  | Hole Diameter |  | Shaft Diameter |
| --- | --- | --- | --- |
| 1. |  | 1. |  |
| 2. |  | 2. |  |
| 3. |  | 3. |  |
| 4. |  | 4. |  |
| 5. |  | 5. |  |
|  |  | 6. |  |
|  |  | 7. |  |
|  |  | 8. |  |
|  |  | 9. |  |
|  |  | 10. |  |

Nominal Size

Basic Size

Tolerance

Allowance/Interference of each combination of shaft and hole

[BME#2]: MEASUREMENT EXPERIMENTS

EXAMPLE “B”: 	Angular Measurements Using Sine Bar

| Test Specimen | H1 | H2 | H2-H1 | sin( | (( |
| --- | --- | --- | --- | --- | --- |

[BME #3] MEASUREMENT EXPERIMENTS

EXAMPLE "C": Inspection of Crankshaft

1.	Diameters of connecting rod bearing #1:

2.	Diameters of connecting rod bearing #2:

3.	Diameters of connecting rod bearing #3:

4.	Diameters of connecting rod bearing #4:

5.	Diameters of main bearing #1:

6.	Diameters of main bearing #2:

7.	Diameters of main bearing #3:

8.	Diameters of main bearing #4:

9.	Throw of connecting rod bearing #1:

10.	Throw of connecting rod bearing #2:

11.	Throw of connecting rod bearing #3:

12.       Throw of connecting rod bearing #4: