ME 576   Laboratory   Session #7 

Assignment 


Generate PLC programs and simulate them on the NUM PLC.  Also generate the truth table to verify the results.   Store the programs in the designated spaces (SP1 to SP4).  You can scan the programs stored in SP1 through SP4 by inputting 1 to E.1C through E.1F using the toggle switch.

E.1C SP1
E.1DSP2
E.1E SP3
E.1FSP4

1)
SP1





E.0






    E.1
        E.3          A.0









  









E.2

2)
SP2
Write a short program to perform the following operation according to two inputs I0 and I1.

operation: 79  85   (Send output to AN.2: third output byte)

I0 (E.01)
0 
0
1
1

I1 (E.02)
0
1
0
1




and
or
nand
xor        

3)
SP3



         E.00      E.01











          E.02

      A.8






         E.03      E.04






      A.9




         E.05

4)
SP4
operation: Motor control problem 

Motor = (Motor + start) AND stop AND clamp1 AND clamp2


Use the following address:



Motor: A.00



Start: E.01



Stop: E.02



Clamp1: E.03



Clamp2: E.04































































































































