## Slide 1: System Components for the EASE Focus 3 Design Project Racks and Wiring

## Slide 2: Outline
Equipment Racks
Rack Issues
Rack Design Software
Sample Rack Layout and Equipment List
Wiring Issues

## Slide 3: Equipment Racks
http://www.middleatlantic.com/
http://www.racktools.com/

## Slide 4: Rack Issues
Access (installation and maintenance)
Mechanical support and stability
Ventilation
Cable routing and dressing

## Slide 5
http://www.racktools.com/

## Slide 6
Sample Rack Layout
Middle Atlantic AXS-43
43SP AXS Rack For In-Wall Applications
Note: “1U” is referred to as a “single rack space”, which is a panel 1.75” tall and 19” wide. All rack panel heights are expressed in integer multiples of “U” (i.e., “2U” is 3.5” tall, “3U” is 5.25” tall, etc.
Also: Rack cabinet depth can vary (26-27” is typical). Rack cabinets can be free-standing or designed for wall installation (as shown).

## Slide 7: Wiring Issues
Power conditioning, distribution, and sequencing
Balanced vs. unbalanced audio cables
XLR vs TRS connectors
Avoiding ground loops, hum, and buzz

## Slide 10: Power Sequence Control

## Slide 11: Grounding Strategies
Grounding and Shielding Notes (Rane)

## Slide 12: What’s in the “?” Passive Schemes for Connecting Signal Ground to Chassis
Grounding and Shielding Notes (Rane)

## Slide 13: Star Ground Scheme for Connecting Signal Ground to Chassis
Grounding and Shielding Notes (Rane)

## Slide 14: Recommended Practice
Sound System Interconnection (Rane)

## Slide 15: Recommended Practice Unbalanced to Balanced Using Transformer Isolation
Sound System Interconnection (Rane)

## Slide 16: Lots of Other Possibilities…
Sound System Interconnection (Rane)