AAE 520 Experimental Aerodynamics

Class 2, Lab 3, Credit 3

(Prerequisites 333, 334, 333L, 334L or Equivalent)

http://roger.ecn.purdue.edu/~aae520/
Lecture: Monday/Wednesday 2:30 PM  Aviation Technology 214

Laboratory Session: Arrange Hours

References:
"Fluid Mechanic Measurements", Goldstein, R.J.



"Low-Speed Wind Tunnel Testing", Rae, W. and Pope, A.

Introduction to Experimental Methods

Data Handling, Statistical Analysis, Error Analysis, Computer Data Acquisition, Calibration Methods, Transducer Response ( First and Second Order Systems), Dimensional Analysis, Scale Effect, Design of Experiments

Wind Tunnels

Subsonic, Transonic, Supersonic, Open and Closed Return, Design, Control, Wind Tunnel Interference

Force Measurements

Balance Systems - Lift, Drag, Side Force, Pitch, Roll, Yaw

Flow Measurements

Pressure - Manometer, Electrical Transducers, Scanning Valves, 

Velocity-Pitot Probes, Hot Wires, 7 Hole Probes, LDV, PIV, DGV

Temperature - Thermometer, Thermocouple, Keil Probes

Flow Visualization

Smoke, Dye, Hydrogen Bubble, Mini-tufts, Fluorescent Dye, China Clay, Shadowgraph, Interferometer, Schliern

Turbulence Measurements

LDV, Hot Wire, Mean, RMS, Spectrum

Scheduled Experiments (Tentative)

1. Common Pathology of Digital Data Acquisition

2. Frequency Response and Filters

3. Transducer Response

4. Measurement System Calibration Techniques

5. Wind Tunnel Performance and Quality

6. LVD, PIV, DGV Systems

7. Flow Visualization

8. Turbulence

	Professor John Sullivan
	Teaching Assistant

	Grissom Hall Room 302
	Shin Matsumura

	494-5148
	Aerospace Sciences Lab. Rm 5

	Aerospace Sciences laboratory
	494-3348

	494-3344
	e- mail        smatsumu@purdue.edu

	e-mail   sulivan@purdue.edu
	


